## New generator connection data
Field name | Approximate generator size | Approximate generator location | Associated generator type and technology | Connection status
Rule | TGNC001 | TGNC002 | TGNC003 | TGNC004
Data type | Integer | Text | Text | Text
Units | MW, Mvar
Other information | Non-confidential or redacted. E.g. aggregate multiple generators at the same connection point or in a geographic area where necessary to avoid revealing confidential information. | Name of the transmission connection point and TNSP unique ID, or if only one generator then the sum of generation in a geographic area. | Non-confidential or redacted. | Application or Connection Agreement in place
| 390 | Eyre Peninsula and Upper North | Solar Farm, Battery | Applications
| 676 | Mid North and Eastern Hills | Pumped Hydro, Wind, Solar Farm | Applications
| 230 | Corraberra Hill - H517 | Pumped Hydro | Connection Agreement in place
| 362 | Davenport - H426 | Wind and Solar | Connection Agreement in place
| 50 | Mount Lock - H583 | Battery | Energised connection
| 215 | Corraberra Hill - H517 | Wind | Energised connection
| 100 | Emeroo - T589 | Solar PV | Energised connection
| 127 | Tailem Bend - H114 | Solar PV | Energised connection
| 118 | Willalo - H480 | Wind | Energised connection
| 250 | Torrens Island B - H254 | Gas generation | Energised connection
| 25 | Mayurra - T112 | Battery | Energised connection
| 7 | Port Lincoln - T188 | Load Bank | Energised connection
| 80 | Emeroo - T589 | Solar PV | Connection Agreement terminated