## New generator connection data
Field name | Approximate generator size | Approximate generator location | Associated generator type and technology | Connection status
Rule | TGNC001 | TGNC002 | TGNC003 | TGNC004
Data type | Integer | Text | Text | Text
Units | MW, Mvar
Other information | Non-confidential or redacted. E.g. aggregate multiple generators at the same connection point or in a geographic area where necessary to avoid revealing confidential information. | Name of the transmission connection point and TNSP unique ID, or if only one generator then the sum of generation in a geographic area. | Non-confidential or redacted. | Application or Connection Agreement in place
| 280 | Cultana - H512 | Solar | Connection agreement
| 362 | Davenport - H426 | Wind and Solar | Connection agreement
| 153 | Pelican Point - H193 | Gas | Connection agreement
| 201 | Robertstown - H215 | Wind | Connection agreement
| 128.5 | Tailem Bend - H114 | Solar, BESS | Connection agreement
| 250 | Torrens Island A - H255 | BESS | Connection agreement
| 258 | Northern SA | Wind, BESS | Connection applications
| 762 | Mid North SA | BESS, Wind, Solar | Connection applications
| 486 | Riverland, Mid North SA and Eastern Hills | BESS, Wind | Connection applications