## New generator connection data
Field name | Approximate generator size | Approximate generator location | Associated generator type and technology | Connection status
Rule | TGNC001 | TGNC002 | TGNC003 | TGNC004
Data type | Integer | Text | Text | Text
Units | MW, Mvar
Other information | Non-confidential or redacted. E.g. aggregate multiple generators at the same connection point or in a geographic area where necessary to avoid revealing confidential information. | Name of the transmission connection point and TNSP unique ID, or if only one generator then the sum of generation in a geographic area. | Non-confidential or redacted. | Application or Connection Agreement in place
| 230 | Corraberra Hill - H517 | Pumped Hydro | Connection agreement terminated
| 362 | Davenport - H426 | Wind and Solar | Connection Agreement
| 250 | Baroota-T310 | Pumped Hydro | Connection application
| 280 | Cultana-H512 | Solar | Connection agreement
| 153 | Pelican Point-H611 | Gas | Connection agreement
| 6.12 | MWPS1-T442 | Solar | Connection agreement
| 5.88 | MWPS2-T443 | Solar | Connection agreement
| 7.38 | MWPS3-T444 | Solar | Connection agreement
| 5.88 | MWPS4-T445 | Solar | Connection agreement
| 16.8 | MAPS2-T447 | Solar | Connection agreement
| 12.4 | MAPS3-T448 | Solar | Connection agreement
| 10.3 | MBO2-T279 | Solar | Connection agreement